SPECIFICATION

Sections 05810 / 07102 / 07915

Epoxy Bonded Sealing System - EBS Series

Waterproof Expansion Joint Sealing System

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing waterproof expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The expansion joints utilize extruded elastoprene seals epoxy bonded to the structural concrete joint opening creating a waterproof system.

- Related Work

- Section 03300 - Cast-in-place concrete

- Section 05500 - miscellaneous metal / expansion joints

- Section 07600 - Flashing and sheet metal

- Section 07900 - Sealants, caulking and waterproofing

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Drawings – Submit typical expansion joint drawings(s) indicating pertinent dimensions, general construction, joint opening dimensions and product information.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers and store under cover in a dry location until installed.  Store off the ground in temperatures above 40ºF, protect from weather and construction activities.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by MM Systems Corp., 50 MM Way, Pendergrass, GA, 30567 Tel. 866.506.6929 Fax. 706.824.7501 / Web www.mmsystemscorp.com

- Alternate manufacturers will not be considered for this project due to insufficient product evaluation time. Submit for future evaluation, products that meet the design criteria and exhibit performance features that are equal to or superior to those called for in the base product specification. Submittal of alternates must be made two weeks prior to bid opening on future projects to allow proper evaluation time. Alternate products not adhering to all listed design features will not be considered. Final decision will be at the sole discretion of the architect or consulting engineer.

## Quality Assurance

- Pre-construction – the General Contractor, Engineer/Architect, Concrete Subcontractor, Manufacturer’s Representative and Certified Contractor, will conduct a pre-construction meeting to discuss joint gap construction, joint width settings and construction phasing. This meeting shall be held prior to any concrete placement at expansion joint locations and may be held in conjunction with the concrete pre-pour meeting.

- Joint Opening Adjustment – the Project Engineer shall provide calculations to the concrete subcontractor to adjust the nominal joint opening the day of the concrete placement. Use a “temperature adjustment table” with expansion joint openings calculated in five (5ºF) degree increments based on a temperature range of [adjust for project] -20ºF to 120ºF. Expansion joints shall not be installed until the structure has undergone its anticipated short-term shortening and creep.

- Expansion Joint Surface Areas - two feet on each side of joint gap shall be finish-graded perpendicular to joint gap creating flush slab-to-slab transition.  Elevations on each side shall be identical.

- Pre-installation Inspection – the General Contractor, Engineer/Architect, Manufacturer’s Representative and Certified Contractor, will conduct a pre-installation project site inspection. The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, blockout, vertical offsets, etc.) that may affect expansion joint system performance.

- Service Condition - insure that anticipated service conditions (loads, speed of traffic, movement, etc) are part of the expansion joint system selection criteria.

- Certification / Installation – a factory-trained and “certified” contractor shall install the specified expansion joint system. The contractor shall provide proof of certification from manufacturer and proof of participation in manufacturer’s continuing education program.

- Warranty – the Manufacturer and Certified Contractor jointly warrant to the Owner that the expansion joint system shall be free from manufacturing, material and installation defects for a period of five (5) years from the date of installation, based on specified movements and design conditions for normal traffic use as recommended by the National Parking Association’s “Parking Facility Maintenance Manual” and subject to the terms and conditions of the manufacturer’s standard written limited warranty. The warranty covers leakage at the joint under normal use due to cohesive or adhesive failure and material failure related to tearing, weathering or abrasion.  No liability or responsibility is accepted due to defects in the concrete. The Certified Contractor and Manufacturer will jointly warrant and provide at no charge, all materials and labor needed to properly repair defective expansion joint within the term of the warranty.

## PART 2 – PRODUCT

  - General

- Provide watertight expansion joint sealing system that meets the specified movement requirements and is capable of accommodating vehicular and pedestrian traffic.

- System shall consist of a continuous elastoprene rubber seal profile secured to the structural concrete joint opening with a thixotropic epoxy paste adhesive.

- Furnish approved Epoxy Bonded Sealing System “EBS Series” as manufactured by MM Systems Corporation.

- Select the system size at each joint location based on the movement and design requirements that meet the project specification or as defined by the structural engineer of record.

- The Certified Contractor must provide written confirmation, utilizing manufacturer’s product data, that the expansion joint seal selected will comply with and accommodate expansion, contraction and lateral shear throughout the full movement cycle.

  - Components and Materials

- Epoxy Bonded Rubber Seal – material shall be a flexible, extruded ethelene propylene diene monomer rubber exhibiting the physical properties listed below.  To ensure a watertight seal, the seal shall have ribbed sidewall profiles through which an epoxy adhesive bonds the seal to the vertical walls of the joint opening.

### PHYSICAL PROPERTIES OF ELASTOPRENE-200 RUBBER SEAL:

Property			Requirement	    	     ASTM Method

Tensile Strength		2800 psi (19 MPa)		D412

Ultimate Elongation		430%				D412

Hardness, Shore A		65 +/- 5 points			D2240

Compression Set

22 hrs.			23% @ 212°F/100(C		D395

70 hrs.			26% @ 100(C			D395

Ozone Resistance		No Cracks			D1149

UV Resistance		Very Good

Brittle Point			-76(F(-60(C)			D746

Oven Aging, 							D573

70h at 212°F (100°C)

Tensile Strength		20% loss max.

Elongation at Break		20% loss max.

Oil Swell / Weight Change 	45% max			ASTM D471

70h at 212°F (100°C)

- Epoxy Adhesive – provide manufacturer’s high strength aggregate reinforced epoxy adhesive consisting of liquid components “A” and “B”.

  - Life Safety – Fire Barrier Systems (as required)

- Approved PyroFlex( Fire Barrier Systems (PF Series), as manufactured by   MM Systems Corporation - Supply fire-resistive barrier systems that have ratings equal to or greater than the rating of adjacent construction when tested in accordance with ASTM E1966 and ASTM E119. Provide specified (2, 3 or 4 hour) rated fire barrier expansion joint assembly.

- Fire Barrier System shall be capable of anticipated movement and maintain fire rating through precondition cycling and fire performance testing in accordance with ASTM E1966. System shall have factory and field splices tested in accordance with ASTM E1966.  Manufacturer shall provide field-splicing instructions.

Fire Barrier System shall have been tested in accordance with ASTM E1966 at a maximum joint opening as defined by ASTM E1399 which meets or exceeds the maximum joint opening required by the project design requirements. System and manufacturer shall be listed with an accredited independent laboratory.

  - Fabrication

- Elastoprene Rubber Seal – Ship in the longest practical continuous length coiled on manufacturer’s standard reel or on wooden pallets and shrink-wrapped.

- Epoxy Adhesive – Ship in manufacturer’s approved containers and packaged in cardboard cartons.

- Fire Barriers (if required) – Ship manufacturer’s standard assembly for the required hourly rating with ends prepared for field splicing.  Assemblies shall be miter cut in the field to accommodate changes in direction.

  - Finishes

- Elastoprene rubber seal shall be supplied in standard color: black.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- The contractor shall provide properly formed concrete expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings.  Any edge or area in need of repair shall utilize structural concrete repair materials that provide a solid and square expansion joint opening. Deviations from these dimensions will not be allowed without the written consent.

- The contractor shall insure that the joint opening sidewall interfaces run parallel to each other for the entire length of the joint.  Sidewalls should be plumb and interfaces must be continuously equidistant from each other across the joint width to accommodate the proper installation of the expansion joint sealing system.

- The contractor shall clean the joint opening of all contaminants by sandblasting immediately prior to installation of the joint system.  Concrete form release agents, water repellents, laitance, surface dirt, rust, old sealants and other protective coatings are examples of materials that must be removed from the joint opening substrate in order to obtain the proper bond.

- Areas adjacent to the joint must be masked with tape to assure neat, clean joint lines.  (Remove tape prior to the curing process.)

- The concrete must be completely dry and fully cured (28 days where the concrete has a moisture content that is below 4%) prior to placement of the expansion joint system. Joint openings requiring the use of structural repair material must be cured for 72 hours prior to joint system placement.

- All cracks in areas adjacent to the joint must be repaired per the joint manufacturers recommendations.

- Preparation of Elastoprene Rubber Seal

- Uncoil the seal and allow it to relax to relieve any temporary coiling from shipment packaging.  The seal shall be cut to the correct length without pulling or exerting excess tension.

- Abrade the sidewalls surfaces that receive the adhesive with a powered wire-brush wheel.  A roughened, dull finish must be obtained.

- Condition the seal by scrubbing Xylene vigorously into the ribs of the profile using a stiff brush.  Do this in two separate passes, and then wipe down the seal with Xylene.

- Installation of Elastoprene Rubber Seal

- Cap both ends of the seal and drill necessary vacuum holes.

- Apply the epoxy adhesive per the manufacturers instructions to the joint opening interfaces and into the ribs of the seal.  The ribs must be completely filled.

- Deflate seal before installation. Allow seal to rest on temporary foam spacer blocks (for proper height adjustment) in the joint opening.

- After proper positioning of the seal, release the vacuum and allow the seal to expand and push against the walls of the concrete joint opening.  A small amount of adhesive should be visible above the ribbed area.

- Clean all excess adhesive around the edges and top of the joint with a trowel or scraping tool.

- Important - Allow epoxy adhesive to cure (usually 24 hours). All seals must be installed in a state of compression.

- Refer to Manufacturers Installation Guide for detailed step-by-step instructions.

  - Clean and Protect

- Protect the system and its components during construction.  Heavy construction vehicles will not be permitted to cross the expansion joint. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION