SPECIFICATION

Sections 05810 / 07102 / 07915

ElastoLok Membrane System

EMS Series - Extreme Duty

Waterproof Expansion Joint Sealing System

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing waterproof expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The expansion joints employ metal reinforced rubber panels that lock-down the continuous wings of elastoprene rubber seals.

- Related Work

- Section 03300 - Cast-in-place concrete

- Section 05500 - Miscellaneous metal / expansion joints

- Section 07600 - Flashing and sheet metal

- Section 07900 - Sealants, caulking and waterproofing

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Drawings – Submit typical expansion joint drawings indicating pertinent dimensions, general construction, blockout dimensions and product information.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers and store under cover in a dry location until installed.  Store off the ground in temperatures above 40ºF, protect from weather and construction activities.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by MM Systems Corp., 50 MM Way, Pendergrass, GA, 30567 / Tel. 866.506.6929 / Fax 706.824.7501 / Web www.mmsystemscorp.com

- Alternate manufacturers will not be considered for this project due to insufficient product evaluation time. Submit for future evaluation, products that meet the design criteria and exhibit performance features that are equal to or superior to those called for in the base product specification. Submittal of alternates must be made two weeks prior to bid opening on future projects to allow proper evaluation time.

## Quality Assurance

- Pre-construction – the General Contractor, Engineer/Architect, Concrete Subcontractor, Manufacturer’s Representative and Certified Contractor, will conduct a pre-construction meeting to discuss blockout construction, joint gap settings and construction phasing. This meeting shall be held prior to any concrete placement at expansion joint blockouts and may be held in conjunction with the concrete pre-pour meeting.

- Joint Opening Adjustment – the Project Engineer shall provide calculations to the concrete subcontractor to adjust the nominal joint opening the day of the concrete placement. Use a “temperature adjustment table” with expansion joint openings calculated in five (5ºF) degree increments based on a temperature range of [adjust for project] -20ºF to 120ºF. Expansion joints shall not be installed until the structure has undergone its anticipated short-term shortening and creep.

- Expansion Joint Blockouts - shall be floated and troweled before final cure to remove all air pockets, voids and spalls caused by formwork.

- Expansion Joint Surface Areas - two feet on each side of joint gap shall be finished and graded perpendicular to joint gap creating flush slab-to-slab transition.  Elevations on each side shall be identical.

- Pre-installation Inspection – the General Contractor, Engineer/Architect, Manufacturer’s Representative and Certified Contractor, will conduct a pre-installation project site inspection. The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, blockout, vertical offsets, etc.) that may affect expansion joint system performance.

- Service Condition - insure that anticipated service conditions (loads, speed of traffic, movement, vertical offsets, turning lanes, etc) are part of the expansion joint system selection criteria.

- Certification / Installation – a factory-trained and “certified” contractor shall install the specified expansion joint system. The contractor shall provide proof of certification from manufacturer and proof of participation in manufacturer’s continuing education program.

- Warranty – the Manufacturer and Certified Contractor jointly warrant to the Owner that the expansion joint system shall be free from manufacturing, material and installation defects for a period of five (5) years from the date of installation, based on specified movements and design conditions for normal traffic use as recommended by the National Parking Association’s “Parking Facility Maintenance Manual” and subject to the terms and conditions of the manufacturer’s standard written limited warranty. The warranty covers leakage at the joint under normal use due to cohesive or adhesive failure and material failure related to tearing, weathering or abrasion.  No liability or responsibility is accepted due to defects in the concrete. The Certified Contractor and Manufacturer will jointly warrant and provide at no charge, all materials and labor needed to properly repair defective expansion joint within the term of the warranty.

## PART 2 – PRODUCT

  - General

- Provide watertight expansion joint sealing system that meets the specified movement requirements and is capable of accommodating vehicular and pedestrian traffic.

- Approved ElastoLok Membrane System (EMS Series) - The expansion joint system shall be waterproof and designed for recessed blockouts. The system is secured to the concrete deck utilizing metal reinforced rubber panels that lock down continuous integral side flanges of an elastoprene rubber seal. Slab-to-wall conditions require a seal design specific to that application – turning up the side flange is not permissible. The system must be capable of accommodating HS20 loading, bearing vehicular traffic, fork-trucks, buses, heavy loads, snowplows and extreme weather conditions.

- Furnish approved ElastoLok Membrane System “EMS Series” as manufactured by MM Systems Corporation.

- Select the system size at each joint location based on the movement and design requirements that meet the project specification.

- The Certified Contractor must provide written confirmation, utilizing manufacturer’s product data, that the membrane seal selected will comply with and accommodate expansion, contraction and lateral shear throughout the full movement cycle.

  - Components and Materials

- Membrane Seal – Material shall be a flexible, extruded thermoplastic elastoprene rubber compound exhibiting the physical properties listed in the table below.  The seal design shall have factory-punched holes in the integral side flanges through which anchors secure rubber lock-down panels to the deck to ensure watertightness and proper joint performance.

Physical Properties of Elastoprene-100 membrane seals:

Property			         Requirement	         ASTM Method

Tensile Strength			1000 psi		D412

Ultimate Elongation			445%			D412

Hardness, Shore A			65 +/- 3 pts.		D2240

Tear Strength		140 pli / 24.5 kN/m @ 23(C		D624

58 pli / 10.2 kN/m @100(C		D624

Compression set

168 hrs.			25% @ 23(C		D395

168 hrs.			38% @ 100(C		D395

Ozone Resistance			No Cracks		D1149

UV Resistance			Very Good

Brittle Point				-76(F(-60(C)		D746

- Rubber Lock-Down Panels – provide 10’-0” standard elastomeric rubber panels designed with non-slip raised pattern serrated surfaces. The panel shall be reinforced with a structural aluminum extrusion suspended in the elastomeric rubber. Each panel end shall employ an inter-locking design.

- Epoxy Anchor System – provide manufacturer’s recommended stainless steel epoxy bonded anchor system. Expansion anchors will not be allowed.

- Bedding Compound – provide manufacturer’s bedding compound across the entire base of the blockout. Closely follow installation guidelines.

- Edge Void Sealant – provide manufacturer’s edge void sealant to seal the gap between the outer edge of the blockout and the rubber lock-down panel.

- Bolt Hole Sealant - provide manufacturer’s bolt hole sealant to seal each bolt hole cavity in the rubber lock-down panels.

- Accessories – Provide all of the necessary parts and devices required for installation.

  - Life Safety – Fire Barrier Systems

- Approved PyroFlex( Fire Barrier Systems (PF Series), as manufactured by        MM Systems Corporation - Supply fire-resistive barrier systems that have ratings equal to or greater than the rating of adjacent construction when tested in accordance with ASTM E1966 and ASTM E119. Provide specified (2, 3, 4 or 5 hour) rated fire barrier expansion joint assembly.

- Fire Barrier System shall be capable of anticipated movement and maintain fire rating through precondition cycling and fire performance testing in accordance with ASTM E1966. System shall have factory and field splices tested in accordance with ASTM E1966.  Manufacturer shall provide field-splicing instructions.

- Fire Barrier System shall have been tested in accordance with ASTM E1966 at a maximum joint opening as defined by ASTM E1399 which meets or exceeds the maximum joint opening required by the project design requirements. System and manufacturer shall be listed with an accredited independent laboratory.

  - Fabrication

- Elastoprene Membrane Seal – Ship in the longest practical continuous length coiled on manufacturer’s standard reel or on wooden pallets and shrink-wrapped.

- Membrane Seal Mitered Directional Changes – provide factory pre-fabricated steel pin reinforced directional changes for 90( corners, tees and crosses.

Only straight butt splice connections shall be spliced on the jobsite. Utilize steel splice reinforcing pins and fusion bond with Elastoprene Splice Adhesive. Insure that all internal and external webs of the seal profile are properly bonded at all splice locations.

- Rubber Lock-Down Panels – EMS standard 10-foot rubber panels are shipped on wooden pallets.

- Wall Mount Plate (slab-to-wall condition) – aluminum retainer shall be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required.

- Fire Barriers (if required) – Ship manufacturer’s standard assembly for the required hourly rating with ends prepared for field splicing.  Assemblies shall be miter cut in the field to accommodate changes in direction.

  - Finishes

- Elastoprene membrane seals and rubber panels shall be supplied in standard black or special custom order colors.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- The contractor shall provide properly formed concrete blockouts and expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings. Deviations from these dimensions will not be allowed without the written consent of the engineer of record.

- The contractor shall clean the concrete blockout of all contaminants by sandblasting immediately prior to installation of expansion joint system.  Concrete form release agents, water repellents, laitance, surface dirt, rust, old sealants and other surface treatments and protective coatings must be removed from the blockout substrate surface in order to obtain the proper bond of bedding compound.

- Actual field conditions of existing expansion joint blockouts may be deeper and wider than the proposed new expansion joint system as detailed on the contract drawings. When existing blockout is larger it must be corrected by use of an approved structural patching material. When blockout size is smaller it shall be made larger by saw cutting.

- Mask adjacent concrete surfaces with tape to provide neat, clean joint line, workmanlike appearance.  (Remove tape prior to the curing process)

- Surface areas two feet on each side of the expansion joint opening shall be finish graded perpendicular to joint opening creating flush slab-to-slab transition.  Elevations on each side shall be identical. Concrete at the two-foot expansion joint transition area shall have elevations above those of the finished deck insuring a downward slope.

- Do not install expansion joint systems until the concrete has been air-dried at temperatures at or above 45 degrees F. for at least 28 days minimum and the concrete must have a measured moisture content that is below 4 percent. The blockout area must be completely dry prior to placement of the bedding compound.  Blockouts requiring the use of structural repair materials must be cured for 72 hours.  Blow out the area thoroughly using compressed air.

- The base of the recess must be formed level and at the same elevation across the joint.  The joint sidewall interfaces must be parallel, and continuously equidistant from each other. They are to be perpendicular to the base surfaces of the blockout – making the corner a perfect 90( angle. Any edge or area in need of repair shall utilize structural concrete repair materials.

- Expansion Joint Installation

- The membrane seal element shall be unpackaged and laid in a relaxed position to relieve any temporary coiling from shipment packaging.   Prior to placement, the winged flaps (side flanges) of the membrane seal shall be wiped with an acceptable non-petroleum solvent cleaner such as Xylene.

- Refer to Manufacturers Installation Guide for detailed step-by-step instructions on how to install the membrane seal and rubber lock-down panels.

- Once placed and cured, the system can be opened to traffic in approximately 2 - 6 hours depending on temperature and humidity (when possible - 24 hours is suggested).

  - Clean and Protect

- Protect the system and its components during construction.  Heavy construction vehicles will not be permitted to cross the expansion joint. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION