SPECIFICATION

Sections 07 90 00 / 07 95 00

(Formerly sections 05810 / 07102 / 07915)

Ethylene Vinyl Acetate Foam Sealing System

EVA Series

(Waterproof Horizontal Expansion Joint Sealing System)

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing waterproof expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The waterproof system utilizes closed cell, cross-linked, ethylene vinyl acetate copolymer, nitrogen-blown rubber seals epoxy bonded to the structural concrete joint opening.

- Related Work

- Section 03300 - Cast-in-place concrete

- Section 05500 - miscellaneous metal / expansion joints

- Section 07600 - Flashing and sheet metal

- Section 07900 - Sealants, caulking and waterproofing

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Drawings – Submit typical expansion joint drawings(s) indicating pertinent dimensions, general construction, joint opening dimensions and product information.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers and store under cover in a dry location until installed.  Store off the ground in temperatures above 40ºF, protect from weather and construction activities.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by MM Systems Corp., 50 MM Way, Pendergrass, GA, 30567 / Tel 866.506.6929 / Fax 706.824.7501 / Web www.mm-usa.com

- Alternate manufacturers will not be considered for this project due to insufficient product evaluation time. Submit for future evaluation, products that meet the design criteria and exhibit performance features that are equal to or superior to those called for in the base product specification. Submittal of alternates must be made two weeks prior to bid opening on future projects to allow proper evaluation time. Alternate products not adhering to all listed design features will not be considered. Final decision will be at the sole discretion of the architect or consulting engineer.

## Quality Assurance

- Pre-construction Meeting – the General Contractor, Engineer/Architect, Concrete Subcontractor, Manufacturer’s Representative and Certified Contractor, will conduct a pre-construction meeting to discuss joint gap construction, joint width settings and construction phasing. This meeting shall be held prior to any concrete placement at expansion joint locations and may be held in conjunction with the concrete pre-pour meeting.

- Joint Opening Adjustment – the Project Engineer shall provide calculations to the concrete subcontractor to adjust the nominal joint opening the day of the concrete placement. Use a “temperature adjustment table” with expansion joint openings calculated in five (5ºF) degree increments based on a temperature range of [adjust for project] -20ºF to 120ºF. Expansion joints shall not be installed until the structure has undergone its anticipated short-term shortening and creep.

- Elevation Tolerance – surface areas two feet on each side of the expansion joint opening shall be finished and graded perpendicular to joint opening creating flush slab-to-slab transition.  Elevations on each side shall be identical.

- Pre-installation Inspection – the General Contractor, Engineer/Architect, Manufacturer’s Representative and Certified Contractor, will conduct a pre-installation project site inspection. The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, non-parallel sidewalls, vertical offsets, etc.) that may affect expansion joint system performance.

- Service Condition – insure that anticipated service conditions (loads, speed of traffic, movement, etc) are part of the expansion joint system selection criteria.

- Certification / Installation – a factory-trained and “certified” contractor shall install the specified expansion joint system. The contractor shall provide proof of certification from manufacturer and proof of participation in manufacturer’s continuing education program.

- Warranty – the Manufacturer and Certified Contractor jointly warrant to the Owner that the expansion joint system shall be free from manufacturing, material and installation defects for a period of one (1) year from the date of installation, based on specified movements and design conditions for normal traffic use as recommended by the National Parking Association’s “Parking Facility Maintenance Manual” and subject to the terms and conditions of the manufacturer’s standard written limited warranty. The Certified Contractor and Manufacturer shall provide at no charge, all materials and labor needed to properly repair defective expansion joint within the term of the warranty. No liability or responsibility is accepted due to defects in the concrete.

## PART 2 – PRODUCT

  - General

- Provide watertight expansion joint sealing system that meets the specified movement requirements and is capable of accommodating vehicular and pedestrian traffic.

- System shall consist of a continuous ethylene vinyl acetate foam rubber seal profile. To ensure a watertight seal, the seal shall have ribbed sidewall profiles through which a thixotropic epoxy paste adhesive bonds the seal to the structural concrete joint opening.

- Furnish approved Ethylene Vinyl Acetate Foam Sealing System “EVA Series” as manufactured by MM Systems Corporation.

- Select the system size at each joint location based on the movement and design requirements that meet the project specification or as defined by the structural engineer of record. Insure that the anticipated service condition is part of the expansion joint system selection criteria.

- The Certified Contractor must provide written confirmation utilizing manufacturer’s product data that the expansion joint seal selected will comply with and accommodate expansion and contraction throughout the full movement cycle.

  - Components and Materials

- EVA Series Rubber Seal – shall be a flexible, closed-cell cross linked ethylene vinyl acetate copolymer nitrogen-blown rubber exhibiting the physical properties listed below.

### PHYSICAL PROPERTIES OF ETHYLENE VINYL ACETATE FOAM SEAL

Property				Requirement	    	     ASTM Method

Tensile Strength			115 psi +/- 25%		D3575/T

Tear Resistance			15 lbs./inch +/- 20%		D624

Elongation Break			255% +/- 25%			D3575/T

Compression Set

50% for 22 hrs. @ 73°F/23(C	9% set   			D3575/B

24-hour recovery

Compression Recovery		No Deterioration		AASHTO T42

50% for 22 hrs. @ 73°F/23(C

0.5-hour recovery

Density, average			2.7 - 3.2  (lbs./cu.ft.)		D3575

Water Absorption 			<0.02  (lbs./sq.ft.)		D3575

(by weight)

Ozone Resistance			No Cracks			D1149		  UV Resistance			Very Good

- Epoxy Adhesive – provide manufacturer’s high strength aggregate reinforced epoxy adhesive consisting of liquid components “A” and “B” with a one to one mix ratio.

  - Life Safety – Fire Barrier Systems (as required)

- Approved PyroFlex( Fire Barrier Systems (PF Series), as manufactured by   MM Systems Corporation - Supply fire-resistive barrier systems that have ratings equal to or greater than the rating of adjacent construction when tested in accordance with ASTM E1966 and ASTM E119. Provide specified (2, 3 or 4 hour) rated fire barrier expansion joint assembly.

- Fire Barrier System shall be capable of anticipated movement and maintain fire rating through precondition cycling and fire performance testing in accordance with ASTM E1966. System shall have factory and field splices tested in accordance with ASTM E1966.  Manufacturer shall provide field-splicing instructions.

Fire Barrier System shall have been tested in accordance with ASTM E1966 at a maximum joint opening as defined by ASTM E1399 which meets or exceeds the maximum joint opening required by the project design requirements. System and manufacturer shall be listed with an accredited independent laboratory.

  - Fabrication

- EVA Series Rubber Seal – ship in the longest practical stick length packaged in cartons or on wooden pallets.

- Epoxy Adhesive – Ship in manufacturer’s approved containers and packaged in cardboard cartons.

- Fire Barriers (if required) – Ship manufacturer’s standard assembly for the required hourly rating with ends prepared for field splicing.  Assemblies shall be miter cut in the field to accommodate changes in direction.

  - Finishes

- EVA foam rubber seal shall be supplied in standard color: grey.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- The contractor shall provide properly formed concrete expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings.  Any edge or area in need of repair shall utilize structural concrete repair materials that provide a solid and square expansion joint opening.

- The contractor shall insure that the joint opening sidewall interfaces run parallel to each other for the entire length of the joint.  Sidewalls should be plumb and interfaces must be continuously equidistant from each other across the joint width to accommodate the proper installation of the expansion joint sealing system.

- The contractor shall clean the joint opening of all contaminants by abrasive blasting immediately prior to installation of the joint system.  Concrete form release agents, water repellents, laitance, surface dirt, rust, old sealants and other protective coatings are examples of materials that must be removed from the joint opening substrate in order to obtain the proper bond.

- Areas adjacent to the joint must be masked with tape to assure neat, clean joint lines.  (Remove tape prior to the curing process.)

- The concrete must be completely dry and fully cured (28 days where the concrete has a moisture content that is below 4%) prior to placement of the expansion joint system. Joint openings requiring the use of structural repair material must be cured for 72 hours prior to joint system placement.

- All cracks in areas adjacent to the joint must be repaired per the joint manufacturer’s recommendations.

- Installation of EVA Foam Rubber Seal

- Match EVA seal sizes to corresponding joint widths along the length of the joint run.

- The two components of the epoxy adhesive (part A – white and part B – black) shall be thoroughly mixed until uniformly blended to a consistent gray color.

- Apply the epoxy adhesive per the manufacturer’s instructions to the joint opening interfaces and to the ribs of the seal.  The ribs must be completely filled.

- Insert seal into the joint opening with glove covered hands. Utilize blunt installation tool to properly position the seal.

- Clean all excess adhesive around the edges and top of the joint with a trowel or scraping tool.

- Important - Allow epoxy adhesive to cure (usually 24 hours). All seals must be installed in a state of compression.

- Refer to Manufacturers Installation Guide for detailed step-by-step instructions.

  - Clean and Protect

- Protect the system and its components during construction.  Heavy construction vehicles will not be permitted to cross the expansion joint. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION